## 5 STO I & A
STO INSPECTION AND ACCEPTANCE
The Vendor shall conduct a "Kind, Count and Condition (KCC) Inspection prior to acceptance of gas cylinders received under a STO from the Government. Inspection and Acceptance or action as outlined below is expected to occur within 7 business days after delivery to the Vendor's location. Acceptance of cylinders by the Vendor under this provision does not constitute acceptance on behalf of the Government and is only the Vendor's determiantion that the cylinders are suitable for use in its performance in accordance with applicable terms and conditions of the contract. KCC inspections shall constitute a superficial evaluation of the quality of the items received and consist of the following: Kind: visual identification per the item description, verification of the cylinder size, specification and NSN/part number, as specified in the PID; Count: visual confirmation of the total quantity of cyliders received and the quantity matching the applicable PD as specified in the order; and Condition: visual verification of physical appearance of the exterior of the cylinders to determine if they visually meet the criteria for the Condition Code, or better, in which they were shipped. Should the Vendor's system determine a "kind" and/or "count" non-conformance upon inspection of material, the Vendor shall complete the STO receipt procedures outlined at XXXX and submit a supply discrepancy report (SDR) requesting disposition for the non-conforming cylinders with sufficient documentation/information as required at XXXXX. The Contracting Officer will initiate resolution within 10 business days of receiving notification from the Vendor. Upon concluding the Government's review of the "condition" non-conformance, the Contracting Officer will provide disposition instructions regarding the suspect material. The Vendor is not permitted to reject cylinders shipped from government facilitites/customers provided the cylinders meet the Vendor's contract requirements, or as otherwise directed in the SOW.